HANDOVER CHECKLIST: DEVELOPER TO MANAGER

Wspólnota mieszkaniowa. The first group follows art. 29 of the act on apartment ownership.

| Project and address: |  | Developer: |
| --- | --- | --- |
| Manager taking over: |  | Number of units: |
| Handover date: |  | Date of this checklist: |

Checklist

| No. | Item | Done | Remarks and date |
| --- | --- | --- | --- |
| TAKEOVER UNDER THE ACT (ART. 29) |  |  |  |
| 1 | Protocol of takeover of the property and its technical documentation, drawn up for the community (art. 29(1b)) |  |  |
| 2 | Building documentation: the design, the as-built documents and the building log book (art. 29(1b)) |  |  |
| 3 | List of owners with their units and shares in the common property, kept up to date (art. 29(1b)) |  |  |
| 4 | Decision on who pays for drawing up or updating the technical documentation: the previous owner until the last unit is separated, unless the owners decide otherwise (art. 29(1c), (1d)) |  |  |
| 5 | Separate records of management costs and advances outside the formal books of account, set up for the property (art. 29(1)) |  |  |
| 6 | Financial settlements conducted through a bank account (art. 30(1)) |  |  |
| DOCUMENTS |  |  |  |
| 7 | Permits and completion certificates |  |  |
| 8 | Deed or contract that creates the separate ownership of the units, with the floor plans and the share of each unit |  |  |
| 9 | Operating instructions for the building’s systems: elevators, heating, electrical, fire safety |  |  |
| 10 | List of the contractors and suppliers who built the building, with contact details |  |  |
| 11 | Insurance policies for the building and the developer’s works |  |  |
| 12 | Maintenance and service contracts already signed, with their terms |  |  |
| COMMON PARTS, DEFECTS AND WARRANTIES |  |  |  |
| 13 | Walk-through of every common part with the manager and, if possible, owners’ representatives |  |  |
| 14 | Signed list of open defects, each with a deadline and who answers for it |  |  |
| 15 | Warranty register: what is covered, by whom and until when, with the claim procedure |  |  |
| 16 | Keys, access cards, remotes and codes counted and signed for |  |  |
| 17 | Meter readings for the common supply on the day of handover, with photos |  |  |
| A CLEAN FINANCIAL START |  |  |  |
| 18 | Separate bank account opened in the association’s name |  |  |
| 19 | Opening balance, with what the developer has paid and what is still owed by it |  |  |
| 20 | First budget and the advance payments that cover it |  |  |
| 21 | Reserve or repair fund opened, with the rule for how it grows |  |  |
| 22 | Unpaid bills and open orders at handover, each stating who pays |  |  |
| OWNERS AND COMMUNICATION |  |  |  |
| 23 | List of owners with their units, shares and contact details, as far as the law allows it to be passed on |  |  |
| 24 | Date and agenda of the first owners’ meeting agreed |  |  |
| 25 | Way for owners to report a problem and to see its status explained in writing |  |  |
| 26 | Contact for emergencies at any hour given to every owner |  |  |

| For the developer (name, role, date) Signature |  | For the manager (name, role, date) Signature |
| --- | --- | --- |

This checklist is general information, not legal advice. The first group follows art. 29 of the Polish act on apartment ownership (consolidated text, Dz. U. 2026 poz. 232); the act is the authority. Have a lawyer check it against your project.