## Service schedule
Equipment | Location | Service task | Contractor | Last done | Interval (days) | Next due | Contract or certificate
Passenger lift | Entrance 1 | Technical inspection | Lift contractor | 2026-05-12 | 180 | 2026-11-08 | Service contract on file
Gas boiler | Boiler room | Annual service | Heating contractor | 2026-03-20 | 365 | 2027-03-20 | Certificate 2026
Fire alarm | All entrances | Panel test | Safety contractor | 2026-08-01 | 90 | 2026-10-30 | Test report
Water pumps | Basement | Check and oil | Caretaker | 2026-09-05 | 120 | 2027-01-03 | None
Formulas:
Next due = [Last done]+[Interval (days)]